## Sheet1
Measurement Catgegories | Solar-Weigthed Specular Reflectance |  |  |  |  | Opto-Mechanical Errors | [5 empty] | Heliostat Shape
Tool Category | Reflectometers |  |  |  | Spectrophotometer | Structured Light Reflection |  |  | Canting |  |  | Laser Scanning |  | Hartman type methods |  |  | Photogrammetry
Name | 410 Solar | ET100 Emissometer | SOC-410 DHR | Condor | LAMBDA 1050 | Qdec | SOFAST | AIMFAST | H-FACET | UFACET | NIO | LiDAR (FARO S70 Sensor) | ReTNA | SHOT | VSHOT | SCCAN | Close Range Photogrammetry
Company | Surface Optics |  |  | Abengoa | PerkinElmer | DLR | Sandia |  |  |  | NREL | Sandia | NREL | Sandia & NREL
Region | San Diego, CA U.S. |  |  | Spain | U.S. | Germany | U.S. |  |  |  | U.S. | U.S. | U.S. | U.S. |  | Spain
Description | Battery operated portable reflectometer. Ideal tool for field solar reflectance, absorbtance measurements and mirror assessment. Collects solar reflectivity data to calculate solar reflectance index (SRI) values. | Measures directional reflectance at six bands in the thermal infrared spectrial region at two incidence angles. | Directional Hemispherical Reflectometer is the first of its class handheld reflectometer for quick and accurate measurements of optical constants of surfaces in the infrared spectral region. It is the only fully portable hand-held device for quick inspection of coatings and materials in the field. The DHR head measures the optical constants of materials for six spectral regions | Measures reflectance with a high level of reliability in six wavelengths, characterizing the response of a mirror at different wavelengths along the sun spectrum. Has several optical channels made up of LED-type light source and a photodiode, which detects the radiation reflected in the central wavelength of the LED. | LAMBDA 1050 has a triple detector capability for ultra-high UV/Vis/NIR performance for wavelengths up to 3300 nm with extreme sensitivity in the NIR region (800-2500 nm) and higher energy throughput. For applications such as highly reflective and anti-reflective coatings, all types of glass from clear to highly absorbing safety glass, optical filters of all types from the deep UV through the NIR and many more applications requiring the best photo- dynamic range and the widest possible sampling capability | Optical measurement system for control of the shape accuracy of solar reflector panels and concentrators. | Sandia Optical Fringe Analysis Slope Tool. Measures surface slope of CSP optics. It uses deflectometry to obtain a high-resolution map of mirror surface slope, and then uses this to generate a variety of analytic products characterizing optical error. | Alignment Implementation for Manufacturing using Fring Analysis Slope Technique. An extension of SOFAST that automates data collection, implements alignment strategies, and provides real time mirror angle corrections to actuators beneath the dish | Uses a high resolution digital camera mounted on top of a receiver tower to observe the image of a startionary target reflected by a heliostat. Custom image processing sofrwate compares specific measurement points on the target reflection image with the cooresponding measurement points on an ideally reflecting heliostat. Deviations between these points reveal facet misalignmnets | Universal Field Assessment, Correction, Enhancement Tool. Similar to H-FACET except camera is not fixed on the tower but mobile moving around the field. Using an unmanned aerial system (UAS) | Non-Intrusive Optics Approach. Given a series of images of a eliostat compare the reflected tower edge in each facet with that of a reference facet with known canting. Distortions and misalignments can be measured to calculate optical errors | Acquires highly accurate point cloud measurements across several heliostats revealing any optical errors on the mirror. | NREL's Reflected Target Non-intrusive Assessment (ReTNA) system measures mirror surface slope using a series of images of a printed target pattern reflected on the mirror's surface. Photogrammetry and computer vision methods are used to automatically identify the target, mirror, and camera in a common reference frame, reducing the required precision of the setup. A moving camera and modular printed target reduce the size and cost of the installation. | A method for characterizing the surface figure and optical performance of point focus solar concentrators | A tool for characterizing Large, imprecise reflectors | The SCCAN technique relies in simple principles of geometrical optics. The image of an ideal paraboloidal mirror for a point source (object at infinity) on the optical axis is a geometrical point at the focus. Therefore an observer located at the focus would see the whole mirror surface “bright” (i.e. light comes from all mirror points). Because a realistic mirror is far from ideal, the image of a point source has a finite size. In fact the image of a point source out of the optical axis has a finite size even for an ideal mirror. | Involves a network of multiple photographs of a targeted object or heliostat taken from a range of viewing positions to obtain 3D coordinate data for the target. There are a variety of methods for specific solar dishes or heliostats
Source | https://surfaceoptics.com/products/reflectometers-emissometers/solar-absorptance-measurements-410/ | https://surfaceoptics.com/products/reflectometers-emissometers/et100-thermal-hand-held-emissometer/ | https://surfaceoptics.com/products/reflectometers-emissometers/soc410-dhr/ | https://aragonphotonics.com/condor-solar-reflectometer/ | https://camcor.uoregon.edu/site/wp-content/uploads/2012/11/Lambda-1050-spec.pdf | https://www.cspservices.de/wp-content/uploads/CSPS-QDec.pdf | https://www.osti.gov/servlets/purl/1855054 | https://asmedigitalcollection.asme.org/solarenergyengineering/article/133/3/031018/456214/AIMFAST-An-Alignment-Tool-Based-on-Fringe | https://www.osti.gov/servlets/purl/1661779 | https://www.energy.gov/sites/default/files/2019/04/f62/CSP%20Summit2019%20SNL-NREL%20Yellowhair-Zhu%20UFACET-NIO.pdf | Under Development | https://www.osti.gov/servlets/purl/1784100 https://www.faro.com/en/Products/Hardware/Focus-Laser-Scanners | Under Development | https://www.nrel.gov/docs/legosti/old/7296.pdf | https://www.osti.gov/servlets/purl/396613 | https://www.sciencedirect.com/science/article/pii/S0038092X03002597?via%3Dihub | https://asmedigitalcollection.asme.org/solarenergyengineering/article/127/1/94/459229/Photogrammetry-A-Powerful-Tool-for-Geometric
Name | 15R-USB | 15R-RGB | SSR 6 | AE1 RD1
Company | Device & Services Co.
Region | Dallas, TX U.S.
Description | Designed for field and lab measurements of flat or curved specular reflectors. Powered by internal rechargeable Nicad batteries. Has USB port for maintaining and downloading datasets. Ideal for monitoring soiling of solar reflectors in field. | Adds the capability to measure reflectance in five broad wavelength bands from blue to near IR using a white LED source and selectable filters. | Features accurate solar reflectance measurements for a variety of global and beam normal irradiance models. | Special purpose instrument for measuring thermal emittance with the sample at ambient temperature.
Source | https://www.devicesandservices.com/prod02.htm | https://www.devicesandservices.com/prod04.htm | https://www.devicesandservices.com/prod01.htm | https://www.devicesandservices.com/prod03.htm
Name | CM-700d/600d | CM-26d 26dG | TraCS | PFlex
Company | Konica Minolta |  | CSP Services GmbH | PSE AG
Region | Japan/U.S. |  | Germany | Germany
Description | Sphectrophotometer is a handheld, portable measurement instrument designed to evaluate the color and appearcance of samples very small to large in size, including objects with flat, shape, or curved surfaces. | Next generation of portable sphere spectrophotometer with horizontal alignment, a design convenient for measuring the color of flat or large samples. | Measures the effective reflectance indlucing cleanliness of a sample solar mirror continuously. It compares between measured beam irradiance (DNI) and reflected beam irradiance from the sample mirror. | Portable Soiling Handheld reflectometer. Uses a mobile device for user interface. Offers precise measurements as well as data storage and transfer.
Source | https://sensing.konicaminolta.us/us/products/cm-700d-spectrophotometer/ | https://sensing.konicaminolta.us/us/products/cm-26d-spectrophotometer/ | https://www.cspservices.de/wp-content/uploads/CSPS-TraCS-Soiling.pdf | https://www.pse.de/test-equipment/thermal-collectors/sensors/pflex-portable-handheld-reflectometer/