## Slide 1: Photovoltaics
Supplementary Illustrations
and Examples

## Slide 2: History of Solar Energy

## Slide 3: Augustin Mouchot’s largest ‘Sun Machine’, on display at the Universal Exposition in Paris, 1878

## Slide 4: An Eneas ‘Sun Motor’ - 4 H.P. Solar Thermal Powered Steam Engine - on farm in Arizona, 1904

## Slide 5: A Maryland Gentleman of the 1890’s enjoys a Hot Bath provided by a Climax Solar Water Heater
Climax Solar Water Heaters were sold extensively between 1890 and about 1920.
Later, the Day and Night Co. was a major supplier of solar hot water systems.

## Slide 6: Solar Water Heating in Los Angeles, circa 1900
Olive Street in LA in 1900.
Three buildings using ‘Climax Solar’ water heaters ($25) ….
A major solar collector boom from 1891 to 1930.
(Note the ‘clear’ skies)

## Slide 7: “Bell System Solar Battery Converts Sun’s Rays into Electricity”, Advertisement from Look Magazine, 1956.

## Slide 8: What is Solar Energy?

## Slide 11: Solar Energy Distribution
Annual global mean downward solar radiation distribution at the surface

## Slide 13: Position of the Sun (view from Earth)
Apparent placement of the Sun in the northern hemisphere

## Slide 14: Position of the Sun (view from Earth)
Azimuth angle of the sun:
Often defined as the angle from due north in a clockwise direction. (sometimes from south)
Zenith angle of the sun:
Defined as the angle measured from vertical downward.

## Slide 15: Effect of Varying Azimuth Angle
A 3.4 kW system consisting of 16x Sanyo HIT-N215A modules, tilted 20 degrees in Phoenix

## Slide 16: Solar Radiation Spectrum

## Slide 17: Photovoltaics

## Slide 18: Solar Cell

## Slide 19: Semiconductor Behavior

## Slide 20
Difficulties to overcome:
Silicon (common solar cell material) “needs” 1.1 eV photons.
The wavelength of such a photon is about 1100 nanometers.
This is an approximation to the actual solar spectrum.
Lower-energy photons can’t deposit their energy in silicon.
Higher-energy photons “waste” all of their energy except for the 1.1 eV.
Efficiency also decreases with temperature (and these things are going to get hot).

## Slide 21: Effect of Bandgap
Ideal maximum (extraterrestrial) solar energy conversion efficiency and actual measured value (square)

## Slide 22: Efficiency
The I-V curve of a PV cell, and the ideal curves for different illumination levels
Goswami and Kreith, Energy Conversion, CRC Press, 2008.
Effect of operating temperature
Goswami and Kreith, Energy Conversion, CRC Press, 2008.

## Slide 23: Commercial Solar Cells
Single crystal silicon (Tesla, efficient but expensive)
Poly-Crystal Silicon (cheaper but less efficient; more so for amorphous Si)
Thin Films (flexible for integration)
Polymer, dye-sensitized cells, organic, electrically conducting plastics, Perovskites, etc.

## Slide 24
Solution: “stack” solar cells made of different materials.
Can be 45+% efficient! However, as the temperature goes up, the efficiency goes down.

## Slide 25: Efficiency Over Time

## Slide 26: Cost Over Time (NREL)

## Slide 27: Cells, Modules and Arrays

## Slide 28: PV Module Characteristics for Standard Technologies

## Slide 29: Typical PV Systems

## Slide 30: PV Farms
Fixed tilt systems: Cheapest. Ideal tilt is the azimuth angle ± 15–20 degrees (usually less than azimuth angle because of wind deflection).
Single-axis Tracking (N-S): Boosts efficiency by up to 25%, typical rotation range is 45 degrees East/West.
Two-axis tracking: Maximum power, as high as 40% over fixed tilt systems. High structural, space, and cost requirements.
Photovoltaic Solar Energy, Reinder et al, Ed., Wiley, 217

## Slide 31: Other Factors